## Input Sheet
KEP ENGINEERING SERVICES PVT. LTD. HYDERABAD
REQUIRED ZLD INPUTS
Sr. No. | Contact Information
1 | Name of the Company
2 | Type of Industry
3 | Detail Address
4 | Name of the Contact Person
5 | Designation
6 | Contact No.
7 | Email ID
Sr. No. | Description
1 | Feed Capacity (KLPD/KLPH)
2 | Source of feed? | Please select...
3 | Do you have any Effluent Feed Analysis Report? | Please select…
4 | Please provide pH, TDS, COD, BOD,TSS, Specific Gravity, Chloride content, Hardness, O&G etc. (Also provide detail as per below Annexure 1)
5 | Does the feed contain any solvent or low boiling point composition like NH3 , H2S etc? If Yes, kindly provide the detailed composition. | Please select…
6 | What is the heating source available at site? | Please select...
7 | What is the capacity and pressure of available heating source?
8 | Cooling Tower Required ? | Please select…
9 | If No, please provide cooling water supply & return temperature (degree C) of available C.T.
10 | Electrical Panel Scope? | Please select…
11 | Required Type of Panel | Please select…
12 | Requirement of control automation ? | Please select…
13 | Type of Electrical Protection Required | Please select…
14 | Cable & Cable Trays Scope? | Please select…
15 | Scope of Instrument air supply with compressor | Please select…
16 | Plant Insulation Scope? | Please select…
17 | Plant structure, side louvers & top roof-scope? | Please select…
18 | Is there any provision for Structural Fabrication at Site | Please select…
19 | Area available for plant at site location? (Length(m) x Width(m) x Height(m)
20 | CIP System Scope | Please select…
21 | Erection of Equipment | Please select…
22 | Transportation with Transit Insurance | Please select…
23 | Standby Pumps & blowers required? | Please select…
24 | Specific requirement for MOC? | Please select…
25 | Any specific Make requirement for bought out items? if yes, kindly mention
26 | Any Existing ETP/Evaporator/Dryer Unit? If Yes, please provide details (Capacity, No. of Effect, Pump Capacity)
27 | Any User Specific Requirement (Design/Electrical/Quality/EHS etc.), if yes please share the details | Please select…
28 | All Civil work (Drain sump/tank-RCC/CT-Basin) | Client
29 | Expected Delivery Timeline (in months)
30 | Steam/Power cost ( Rs. per kg/ Rs. Per kw) for opex calculation
Annexure -1
Sr. No. | Parameter | Test Method | Unit | Results
1 | Ammonia (as NH₃) | IS 3025 P-34 1988 (2003) | mg/l
2 | Ammonical Nitrogen | IS 3025(P-34)-1988 | mg/l
3 | BOD | ---------- | mg/l
4 | Chloride as Cl | IS 3025 P-32 1988 (2003) | mg/l
5 | COD | ---------- | ----------
6 | Collidal Silica as SiO2 | IS 3025 (Part 35) 1988 | mg/l
7 | Dissolved Oxygen (as O2) | -------- | ----------
8 | Free Residual Chlorine | IS 3025 P-26 1986 (2003) | mg/l
9 | Nitrate (as No3) | APHA 22nd Edition 2012 4500 NO3- B | mg/l
10 | Oil & Grease | Inhouse | mg/l
11 | pH | IS: 3025 (Part-11) | ----
1983-Reaffirmed 2002
12 | Phosphate (as PO₄) | ICP-OES | mg/l
13 | Reactive Silica as SiO2 | ICP-OES | mg/l
14 | Silica (as SiO₂) | IS 3025 (P-35) 1988 RA 2003 | mg/l
15 | Sulphate as SO4 | IS 3025 P-24 1986 | mg/l
16 | Sulphide (as H2S) | IS 3025 (P-29)-1986 Reaff 2009 | mg/l
17 | Total alkalinity (as CaCO₃) | IS 3025 P-23 1986 (2003) | mg/l
18 | Total Chromium | ICP-OES | mg/l
19 | Total Dissolved Solids (TDS) | IS 3025 (P-15)1984 | mg/l
20 | Total Hardness (as CaCO3) | IS 3025 P-21 2009 | mg/l
21 | Total Kjeldahl Nitrogen | APHA-4500 | mg/l
22 | Total Suspended Solids (TSS) | IS 3025 P-17 1984 (2012) | mg/l
23 | Turbidity | IS 3025 P-10 1984 (2002) | NTU
24 | P-Alkalinity | IS 3025 (P-23) RA 2003 | mg/l
25 | Sodium Phosphate as Na3PO4 | On the basis of phosphate | mg/l
26 | Aluminium as Al | ICP-OES | mg/l
27 | Calcium as Ca | IS 3025 P-40 | mg/l
28 | Copper as Cu | ICP-OES | mg/l
29 | Iron as Fe | ICP-OES | mg/l
30 | Magnesium as Mg | IS 3025 P-46 | mg/l
31 | Nickel as Ni | ICP-OES | mg/l
32 | Potassium as K | ICP-OES | mg/l
33 | Sodium as Na | ICP-OES | mg/l
34 | Zinc as Zn | ICP-OES | mg/l
Answered | 21 / 37 Questions
Answered | 2,3,5,6,8,10,11,12,13,14,15,16,17,18,20,21,22,23,24,27,28
Not Answered | 1,2,3,4,5,6,7,1,4,7,9,19,25,26,29,30
1 | 1
2 | 1
3 | 1
4 | 1
5 | 1
6 | 1
7 | 1
1 | 1
2 | 0
3 | 0
4 | 1
5 | 0
6 | 0
7 | 1
8 | 0
9 | 1
10 | 0
11 | 0
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0
18 | 0
19 | 1
20 | 0
21 | 0
22 | 0
23 | 0
24 | 0
25 | 1
26 | 1
27 | 0
28 | 0
29 | 1
30 | 1